V 1.0

March 2026

XStep Design Specification

SMPL: Probe Information

Table of Contents

Functional Requirements	3

1 Purpose	3

2 Overview	3

3 Reasons for developing	4

4 Authorization	4

5 Assumptions/ Dependencies	4

6 Validation Checks	4

7 Configuration Specifications	4

8 Test Scenarios	5

9 Document References	5

10 Revision History	5

## Purpose

This document outlines the functional and technical design, along with the configuration specifications for the XStep “SMPL: Probe Information”.

## Overview

The SMPL: Probe Information allows operators to select the specific pO2 probe or pH probe information.

The XStep contains the following main input parameters:

- IV_HEADER - This can be changed in SiMPL MBR to display specific header text for the XStep

- IV_INSTR - This can be changed in SiMPL MBR to display a specific set of instructions for the XStep that will be displayed below the header

- IV_TITLE1 - This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Probe” but can be changed to anything applicable

- IV_TITLE2 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Probe Type” but can be changed to anything applicable.

- IV_TITLE3 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Serial Number” but can be changed to anything applicable.

- IV_TITLE4 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Temperature” but can be changed to anything applicable.

- IV_TITLE5 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Baseline/Zero value” but can be changed to anything applicable.

- IV_TITLE6 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “Slope Value” but can be changed to anything applicable.

- IV_TITLE7 -  This can be changed in SiMPL MBR to display the specific field label for the value being recorded. By default it is set to “100% Saturation” but can be changed to anything applicable.

Functional Design

## Reasons for developing

The SMPL: Probe Information was developed to provide a singular, consolidated execution step for entry of pO2 probe or pH probe information. The configuration of default values guides the operator regarding which fields are mandatory versus optional based on the use case.

## Authorization

N/A

## Assumptions/ Dependencies

|  | Assumption |
| --- | --- |
| 1 | Master Data has been set up correctly |

## Validation Checks

| Error Handling |  |
| --- | --- |
| Error | Action |

## Configuration Specifications

N/A

## Test Scenarios

| # | Scenario | Expected Result | Actual Result | Pass/ Fail |
| --- | --- | --- | --- | --- |

## Document References

| Reference No. | Document Title |
| --- | --- |

## Revision History

| Version No. | Description | Author | Date |
| --- | --- | --- | --- |