V 1.0

May 2026

XStep Design Specification

Bioreactor pH Calculation

Table of Contents

Right-click and choose "Update Field" to build the table of contents.

# Purpose

The document details the functional design, along with the configuration specifications for the XStep “SMPL: Bioreactor pH Calculation”. The process step allows the user to identify Bioreactor material that is being measured in probe A and probe B in two separate input text fields. The two tables allow the user to capture the pH data of the identified material in probe A and B. The pH data recorded in the tables are saved to the SAP backend table QASE.

# Overview

The user is required to identify the Bioreactor substances that are measured during the process in two separate input fields:

- Probe A – Output field: Data pulled from EBR record (data captured previously during the completion of the PO)

- Probe B – Output field: Data pulled from EBR record (data captured previously during the completion of the PO)

The process step contains the following two tables:

- Bioreactor Temperature and pH

- pH Difference

The tables allow the user to record the pH data for the two identified Bioreactor solutions. The pH data is saved to the SAP backend table QASE when the data captured in the table is signed off on.

The table “Bioreactor Temperature and pH” captures the following data:

- Bioreactor Temp – Input field: Input numeric field

- UOM – Output field: Defaulted to CEL

- pH Probe A – Input field: pH value entry

- pH Probe B – Input field: pH value entry

- Offline pH Meas – Input dropdown selection: The dropdown characteristic contains the options “Select”, “BGA” and “pH Meter”

- BGA/ pH Meter ID – Input field: Input short text field

- Sample Temp – Input field: Input numeric field

- UOM – Output field:  Defaulted to CEL

- Sample pH (T) – Input field: Input numeric field

- Performed By – Input field: User signature

The table “pH Difference” contains a functional button:

- Record Current Time

The function module that is triggered when the button is selected is GET_SYSTEM_TIME_REMOTE

When the functional button is selected the output field Time Performed is automatically populated with the time the pH data was captured to the SAP system.

The table “pH Difference” captures the following data:

- Probe – Input dropdown selection: The dropdown characteristic contains the options “Select”, “Probe A” and “Probe B”

- Bioreactor pH – Output field: Pull pH information captured in “Bioreactor Temperature and pH” table in output field. The pH information that is pulled depends on whether “Probe A” or “Probe B” was selected from the dropdown selection in the previous field.

- Offline pH – Output field: pull the “Sample pH (T)” information captured in the “Bioreactor Temperature and pH” table in the output field for the applicable probe.

- pH Difference – Output field: Calculation output

- One-point Standardization – Output field: the field is automatically populated with “Yes” if the value for “pH Difference” is =< -0.05 or >= +0.05. If not then the field will automatically be populated with “No”.

- Performed By – Input field: User signature

The process step contains calculations that show the difference between the Bioreactor pH for Probe A/ Probe B and the Sample pH.

pH Diff = pH Probe (A/B) – Sample pH (T)

The second table “pH Difference” automatically pulls the data captured in the first table “Bioreactor Temperature and pH” into the output fields of the table. The data is filtered according to “Probe A” data and “Probe B” data. When the user selects Probe A from the dropdown selection in the second table the line item will exclusively be populated with data captured for Probe A and similarly for Probe B.

If the “pH Difference” is =< -0.05 or >= + 0.05 then the One-Point Standardization field is automatically set to “Yes”. If the conditions are not met then the One-Point Standardization is set to “No”.

# Reasons for developing

The SMPL: Bioreactor pH Calculation XStep was developed to standardize and streamline the operations used to capture pH sample information to the SAP backend table QASE. The primary purpose of the process step is to automatically calculate the pH difference between the identified bioreactor solution and the sample pH. The process step allows the user to capture the pH information for probe A and probe B. The second table pulls the information captured in the first table into the output fields based on the probe that was selected. The pH difference is calculated in the second table using the following formula:

- pH Diff = pH Probe (A/B) – Sample pH (T)

The “One-Point Standardization” field is populated based on the calculated “pH Difference”.The process step contains a functional button that populates the output field with the current system time when it is selected.

# Authorization

The Signature Strategies SS000201 - SiMPL Done By and SS000202 - SiMPL Checked By are created and assigned to the Authorization Groups AGDS0001 PI step Done By SS and AGDS0002 PI step Checked By SS. This ensures that at least two users are required to successfully sign off the process step. The first user signs off in the Performed By field and a second user signs the Witnessed By field.

| Object Name | Description |
| --- | --- |
| Signature validation | The user is required to provide a password validating their ID before their digital signature is accepted. Validation Checks: - SAP User ID exists - Password is correct - User is not locked - User is signed into PI sheet - User session is valid |
| Signature Strategy | A signature strategy will be implemented so that operators or/and verifiers must sign off before the process step is locked and the data is automatically saved in the SAP system. The Performed By signature checks that: - Mandatory fields are completed - Numeric Range checks passed - No invalid entries - No open deviations/ errors remain - Calculation results are valid The Witnessed By signature checks that: - Required number of signatures are met - A second user signs the Witnessed By signature activating the Signature strategy SS000202 - SiMPL Checked By - Data is verified |
| Authorization | Appropriate authorization is required for users to execute the XStep/PI sheet. - Signature Strategy SS000201 - SiMPL Done By is linked to authorization group AGDS0001 PI step Done By SS - Signature Strategy SS000202 - SiMPL Checked By is linked to authorization group AGDS0002 PI step Checked By SS |

# Assumptions/ Dependencies

|  | Assumption |
| --- | --- |
| 1 | The process step contains a functional button that automatically captures the sample time and performed time of the pH samples during the monitoring process |
| 2 | The process step contains numeric fields in the first table that allows the user to capture and record data to the SAP backend table QASE. |
| 3 | The second table contains a dropdown selection that allows the user to select an appropriate option. The option that was selected is used as a filter to pull the relevant data for the option that was captured in the first table into the output fields of the second table. |
| 4 | The process step executes a calculation “pH Diff = pH Probe (A/B) – Sample pH (T)” in the second table to populate the pH Difference field |
| 5 | The “One-Point Standardization” field is automatically populated based on the calculated pH difference. If the pH Difference is =< -0.05 or >= + 0.05 then one-point standardization is required. |
| 6 | The signature strategies and authorization groups are configured and linked appropriately. See Section 8 for reference. |

# Validation Checks

| Error Handling |  |
| --- | --- |
| Error | Action |
| Mandatory fields in table “Bioreactor Temperature and pH” not captured | Display validation error and prevent save |
| Invalid numeric entry entered for Bioreactor Temp, pH Probe A, pH Probe B, Sample Temp and Sample pH (T) | Display numeric validation error and prevent save until error is addressed |
| Validation is executed on the One-Point standardization | Prevent save and display validation error |
| Timestamp format not generated in HH:MM:SS format | Display timestamp formatting validation error |
| SAP Application Server time unavailable | Prevent timestamp generation and display system error |
| Signature Failure | An error message is displayed that prevents completion |
| Unauthorized User | Reject Signature and display authorization error |
| pH Difference Calculation fails | Prevent save and display calculation error |

# XStep Layout Design

# Function Module(s)

Function: ZSMPL_FM_GET_PH_VALUES

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IV_PROBEA | ZSMPL_TT_TWO_DEC | Table of two-decimal value (Probe A) |
| IV_PROBEB | ZSMPL_TT_TWO_DEC | Table of two-decimal value (Probe B) |
| IV_SAMPLEPH | ZSMPL_TT_TWO_DEC | Table of two-decimal value (Sample pH) |

Changing Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| CH_PROBE | /SMPL/STR_TT_CHAR30 | Table of Character 30 (probe selection) |
| CH_PH_VALUE | ZSMPL_TT_TWO_DEC | Table of two-decimal value (online pH) |
| CH_OFFLINE_P_VALUE | ZSMPL_TT_TWO_DEC | Table of two-decimal value (offline pH) |

Function: ZSMPL_FM_SET_STANDARDIZATION

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_PROBE_PH | /SMPL/STR_DE_TWO_DEC | Two-decimal value (probe pH) |
| IM_SAMPLE_PH | /SMPL/STR_DE_TWO_DEC | Two-decimal value (sample pH) |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EX_PH_DIFFERENCE | /SMPL/STR_DE_TWO_DEC | Two-decimal value (pH difference) |
| EX_STANDARDIZATION | CHAR1 | Character 1 (standardization result) |

Function: ZSMPL_FM_DUPLICATE_TEMP

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IV_B_TEMP | /SMPL/STR_DE_TWO_DEC | Two-decimal value (bioreactor temperature) |
| IV_DEVICE | CHAR3 | Character 3 (device indicator) |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EV_S_TEMP | /SMPL/STR_DE_TWO_DEC | Two-decimal value (sample temperature) |

Function: ZSMPL_FM_GET_DATE_AND_TIME

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IV_USER | CHAR30 | Character 30 (user, optional) |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EV_DATE | /SMPL/STR_DE_START_DATE | Start Date |
| EV_TIME | /SMPL/STR_DE_START_TIME | Start Time |

Function: ZSMPL_FM_GET_MAT_DETAIL

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_MATNR | MATNR | Material Number |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EX_MAT_DESC | MAKTX | Material Description |
| EX_UOM | MEINS | Base Unit of Measure |

Exceptions:

| Exception | Short Text |
| --- | --- |
| MAT_DESC_DNE_FOR_LANGU | Material description not found for the logon language |
| UOM_NOT_FOUND | Unit of measure not found for the material |

Function: ZSMPL_FM_ENTRY_VALIDATION1

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_NUM_F1 | ERFMG | Quantity in unit of entry |
| IM_NUM_F2 | ERFMG | Quantity in unit of entry |
| IM_NUM_F3 | ERFMG | Quantity in unit of entry |
| IM_NUM_F4 | ERFMG | Quantity in unit of entry |
| IM_NUM_F5 | ERFMG | Quantity in unit of entry |
| IM_CHAR_F1 | CHAR30 | Character 30 |
| IM_CHAR_F2 | CHAR30 | Character 30 |
| IM_CHAR_F3 | CHAR30 | Character 30 |
| IM_CHAR_F4 | CHAR30 | Character 30 |
| IM_CHAR_F5 | CHAR30 | Character 30 |
| IM_CHAR_F6 | CHAR30 | Character 30 |
| IM_CHAR_F7 | CHAR30 | Character 30 |
| IM_DATE_F1 | DATS | Date |
| IM_DATE_F2 | DATS | Date |
| IM_TIME_F1 | TIMS | Time |
| IM_TIME_F2 | TIMS | Time |

Function: /SMPL/PPPI_FM_SIG_ADD_DB_CB

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_CONTROL_RECIPE | POC_DOCID | Control Recipe Number |
| IM_PHASE | VORNR | Activity Number |
| IM_STEP_IDX | INT4 | XStep Step Index Number |
| IM_STEP | CHAR30 | XStep Header |
| IM_SIGTYPE | CHAR20 | Signature Type |
| IM_USERID | XUBNAME | User Name |
| IM_DB_UP_DOWN | CHAR1 | Done By Up/Down |
| IM_VALIDATION_REQ | CHAR3 | Validation Required |
| IM_STEP_UUID | ZSMPL_DE_SMPL_SOG_UUID | XStep SOG UUID |

Function: /SMPL/PPPI_FM_SIG_POPULATE_CB

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_LABEL_ID | CHAR1 | Signature Label ID (D/C) |
| IM_STEP_NAME | CHAR40 | XStep Header |
| IM_STEP_INDEX | INT4 | XStep Step Index Number |
| IM_STEP_UUID | /SMPL/STR_DE_SOG_UUID | XStep SOG UUID |
| IM_CONTROL_RECIPE | POC_DOCID | Control Recipe Number |
| IM_PHASE | VORNR | Activity Number |
| IM_PO_NR | AUFNR | Order Number |
| IM_PLANT | WERKS_D | Plant |

Exceptions:

| Exception | Short Text |
| --- | --- |
| TABLE_LOCK_NOT_POSSIBLE | Structure table could not be locked |

Function: /SMPL/PPPI_FM_SIG_VALIDATION

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_LABEL_ID | CHAR1 | Signature Label ID (D/C) |
| IM_STEP_NAME | CHAR40 | XStep Header |
| IM_STEP_INDEX | INT4 | XStep Step Index Number |
| IM_CONTROL_RECIPE | POC_DOCID | Control Recipe Number |
| IM_PHASE | VORNR | Activity Number |
| IM_PO_NR | AUFNR | Order Number |
| IM_USERID | XUBNAME | User Name |
| IM_STEP_UUID | /SMPL/MBR_SOG_UUID | XStep SOG UUID |
| IM_CB_VALIDATE | CHAR1 | Checked By Validation Flag |
| IM_PLANT | WERKS_D | Plant |

Exceptions:

| Exception | Short Text |
| --- | --- |
| CONTROL_RECIPE_INITIAL | Control recipe is initial |
| USER_INITIAL | User ID is initial |
| USER_NOT_SIGNED_INTO_SIG_TAB | User not registered on PI sheet |
| USER_SIGNED_DONE_BY | User already signed the Done By |
| PREDECESSOR_NOT_COMPLETED | Predecessor step not completed |
| REQ_EBR_STEPS_NOT_COMPLETED | Required EBR steps not completed |
| USER_SIGNED_PERF_BY | User already signed the Perform By |
| XSTEP_CONFIG | XStep / structure configuration error |

Function: /SMPL/PPPI_FM_VALI_SUPE_SIG

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_LABEL_ID | CHAR1 | Signature Label ID (D/C) |
| IM_STEP_NAME | CHAR40 | XStep Header |
| IM_STEP_INDEX | INT4 | XStep Step Index Number |
| IM_CONTROL_RECIPE | POC_DOCID | Control Recipe Number |
| IM_PHASE | VORNR | Activity Number |
| IM_PO_NR | AUFNR | Order Number |
| IM_USERID | XUBNAME | User Name |
| IM_STEP_UUID | SYSUUID_22 | 16 Byte UUID in 22 Characters |
| IM_CB_VALIDATE | CHAR1 | Checked By Validation Flag |
| IM_PLANT | WERKS_D | Plant |
| IV_MN | F | Minimum Value |
| IV_MN_DAY | I | Minimum Day Offset |
| IV_MN_TIM | TIMS | Minimum Time |
| IV_MT | F | Target Value |
| IV_MT_DY | I | Target Day Offset |
| IV_MT_TM | TIMS | Target Time |
| IV_MX | F | Maximum Value |
| IV_MX_DAY | I | Maximum Day Offset |
| IV_MX_TIM | TIMS | Maximum Time |
| IV_INSIDE_RANGE | CHAR1 | Inside Range Indicator (default 1) |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EV_SIG_REQ | CHAR1 | Signature Required Indicator |

Exceptions:

| Exception | Short Text |
| --- | --- |
| VALUE_NOT_SET | Value to validate not set |
| RANGE_BELOW_MIN | Value below minimum |
| RANGE_ABOVE_MAX | Value above maximum |
| RANGE_INSIDE_RANGE | Value inside range |
| DOESNT_WORK_FOR_TIME | Not supported for time values |
| CONTROL_RECIPE_INITIAL | Control recipe is initial |
| USER_INITIAL | User ID is initial |
| USER_NOT_SIGNED_INTO_SIG_TAB | User not registered on PI sheet |
| USER_SIGNED_DONE_BY | User already signed the Done By |
| PREDECESSOR_NOT_COMPLETED | Predecessor step not completed |
| REQ_EBR_STEPS_NOT_COMPLETED | Required EBR steps not completed |
| USER_SIGNED_PERF_BY | User already signed the Perform By |
| UNEXPECTED_ERROR | Unexpected error |

Function: /SMPL/PPPI_FM_INITIAL_ACTIVE

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IV_ACTIVE | CHAR1 | N/A |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EV_ACTIVE | CHAR1 | N/A |

Function: /SMPL/MBR_DEP_ADD_PERFORM

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_CONTROL_RECIPE | POC_DOCID | N/A |
| IM_AUFNR | AUFNR | N/A |
| IM_USERID | XUBNAME | N/A |
| IM_STEP_UUID | /SMPL/MBR_SOG_UUID | N/A |
| IM_DEST_NAME | /SMPL/MBR_CMX_XS_DST_NAME | N/A |

Function: /SMPL/MBR_DEP_CHECK_ACTIVE

Import Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| IM_CONTROL_RECIPE | POC_DOCID | N/A |
| IM_PHASE | VORNR |  |
| IM_AUFNR | AUFNR |  |
| IM_STEP_UUID | /SMPL/MBR_SOG_UUID |  |
| IM_PLANT | WERKS_D |  |

Export Parameters:

| Parameter Name | Associated Type | Short Text |
| --- | --- | --- |
| EV_ACTIVE | CHAR1 | N/A |

Exceptions:

| Exception | Short Text |
| --- | --- |
| CONTROL_RECIPE_INITIAL |  |

# Pseudocode

Function: ZSMPL_FM_GET_PH_VALUES

1. Purpose

Populates the per-row online and offline pH columns of the pH-check table from the captured Probe A, Probe B and sample pH readings. For each row, the online pH value is taken from whichever probe (A or B) that row is configured to use, and the offline pH value is set from the sample reading.

2. Input Parameters

•  IV_PROBEA – Probe A pH reading (the first row’s value is used).

•  IV_PROBEB – Probe B pH reading (the first row’s value is used).

•  IV_SAMPLEPH – sample/offline pH reading (the first row’s value is used).

3. Changing Parameters

•  CH_PROBE – per-row probe selection (‘1’ = Probe A, ‘2’ = Probe B).

•  CH_PH_VALUE – per-row online pH value column (populated).

•  CH_OFFLINE_P_VALUE – per-row offline (sample) pH value column (populated).

4. Processing Logic

a. Read the first entry of each input table into local Probe A, Probe B and sample pH values.

b. Loop over CH_PROBE; for each row (using SY-TABIX) read the matching CH_PH_VALUE and CH_OFFLINE_P_VALUE cells:

•  If the probe selection is ‘1’, set the online pH cell to the Probe A value.

•  If the probe selection is ‘2’, set the online pH cell to the Probe B value.

•  Set the offline pH cell to the sample pH value.

Output

•  CH_PH_VALUE and CH_OFFLINE_P_VALUE populated per row according to the probe selection.

Additional Notes

Error Handling:

•  No exceptions; relies on the probe/pH/offline columns being kept the same length (parallel rows).

Dependencies:

•  Table types ZSMPL_TT_TWO_DEC and /SMPL/STR_TT_CHAR30.

Assumptions:

•  A single Probe A / Probe B / sample reading applies to all rows; the probe-selection column drives which probe value is written.

Function: ZSMPL_FM_SET_STANDARDIZATION

1. Purpose

Calculates the difference between the probe pH and the offline sample pH and determines whether the probe requires standardization based on a fixed tolerance of 0.05 pH units.

2. Input Parameters

•  IM_PROBE_PH – the online probe pH value.

•  IM_SAMPLE_PH – the offline sample pH value.

3. Export Parameters

•  EX_PH_DIFFERENCE – the signed pH difference (probe − sample).

•  EX_STANDARDIZATION – standardization result (‘1’ = required, ‘2’ = not required).

4. Processing Logic

a. EX_PH_DIFFERENCE = IM_PROBE_PH − IM_SAMPLE_PH.

b. If the absolute difference is >= 0.05, set EX_STANDARDIZATION = ‘1’ (standardization required); otherwise set it to ‘2’ (not required).

Output

•  EX_PH_DIFFERENCE and EX_STANDARDIZATION.

Additional Notes

Error Handling:

•  No exceptions; pure calculation.

Dependencies:

•  Data element /SMPL/STR_DE_TWO_DEC.

Assumptions:

•  A probe/sample pH difference of 0.05 or more indicates the probe needs standardization.

Function: ZSMPL_FM_DUPLICATE_TEMP

1. Purpose

Copies the bioreactor temperature into the sample temperature field when a particular measurement device is in use, so the operator does not have to re-enter it.

2. Input Parameters

•  IV_B_TEMP – the bioreactor temperature.

•  IV_DEVICE – device indicator; ‘1’ triggers the duplication.

3. Export Parameters

•  EV_S_TEMP – the sample temperature.

4. Processing Logic

a. If IV_DEVICE = ‘1’, set EV_S_TEMP = IV_B_TEMP; otherwise EV_S_TEMP is left unchanged.

Output

•  EV_S_TEMP populated with the bioreactor temperature when the device condition is met.

Additional Notes

Error Handling:

•  No exceptions.

Dependencies:

•  Data element /SMPL/STR_DE_TWO_DEC.

Assumptions:

•  Device ‘1’ shares the bioreactor temperature as the sample temperature.

Function: ZSMPL_FM_GET_DATE_AND_TIME

1. Purpose

Returns the current local date and time for stamping a pH check / measurement entry in the XStep.

2. Input Parameters

•  IV_USER – optional user identifier (not required for the date/time calculation).

3. Export Parameters

•  EV_DATE – current local date.

•  EV_TIME – current local time.

4. Processing Logic

a. EV_DATE = sy-datlo (current local date).

b. EV_TIME = sy-timlo (current local time).

Output

•  Current local date and time.

Additional Notes

Error Handling:

•  No exceptions.

Dependencies:

•  System fields sy-datlo / sy-timlo.

Assumptions:

•  The local (user time-zone) date and time are required for the entry stamp.

Function: ZSMPL_FM_GET_MAT_DETAIL

1. Purpose

Returns the description and base unit of measure for a material, used to populate read-only material fields in the XStep.

2. Input Parameters

•  IM_MATNR – the material number to look up.

3. Export Parameters

•  EX_MAT_DESC – material description.

•  EX_UOM – base unit of measure.

4. Processing Logic

a. SELECT the material description from MAKT for the material in the logon language (SY-LANGU).

b. If none exists in the logon language, fall back to English ('E').

c. SELECT the base unit of measure from MARA; if the material has no UOM (sy-subrc <> 0), RAISE uom_not_found.

d. Return the description and UOM in the export parameters.

Output

•  EX_MAT_DESC and EX_UOM for the requested material.

Additional Notes

Error Handling:

•  UOM_NOT_FOUND – the material has no base unit of measure in MARA.

•  MAT_DESC_DNE_FOR_LANGU – declared for the case where no description exists (logon language falls back to English).

Dependencies:

•  Tables MAKT (material descriptions) and MARA (material master).

Assumptions:

•  The material exists in the material master; description is maintained in the logon language or English.

Function: ZSMPL_FM_ENTRY_VALIDATION1

1. Purpose

Generic placeholder/validation hook used by an XStep to ensure mandatory entry fields are filled in. It exposes a wide, generic interface of numeric, character, date and time fields so a single function module can be wired to different mandatory-field checks.

2. Input Parameters

•  IM_NUM_F1..IM_NUM_F5 – up to five numeric (quantity) entry fields.

•  IM_CHAR_F1..IM_CHAR_F7 – up to seven character entry fields.

•  IM_DATE_F1 / IM_DATE_F2 – up to two date entry fields.

•  IM_TIME_F1 / IM_TIME_F2 – up to two time entry fields.

3. Processing Logic

a. The function body currently contains no executable statements – it is a stub whose purpose (per the header comment) is to ensure mandatory fields are filled in within the XStep.

Output

•  None; there are no export parameters or exceptions.

Additional Notes

Error Handling:

•  No exceptions declared and no validation logic implemented yet.

Dependencies:

•  None (no tables, FMs or classes referenced).

Assumptions:

•  Mandatory-field enforcement is expected to be added here or is handled by the XStep framework binding; the broad parameter list is intentional to support multiple reuse scenarios.

Function: /SMPL/PPPI_FM_SIG_ADD_DB_CB

•  Signature Type Identification

•  Assign the incoming signature type (IM_SIGTYPE) to local variable lv_sigtype.

•  A CASE structure is used to determine behavior based on the type: ‘ ’ (Done By), ‘C’ (Checked By), ‘O’ (Validation Flag Only).

•  Done By Signature (lv_sigtype = ‘ ’)

•  a. Optional Step Name Update – if IM_STEP is provided, update the XStep header in table /SMPL/PPPI_PISST.

b. Determine Position for Signature Insertion

•  If IM_DB_UP_DOWN is empty: insert the new signature above the current item by fetching MIN(UNIQUE_SEQID) and inserting one row before it.

•  If IM_DB_UP_DOWN = ‘B’: insert the new signature below the current item by fetching MAX(UNIQUE_SEQID) and inserting one row after it.

•  In both cases use IM_USERID as the signer (SIGN_ID), the signature type description from TEXT-001, and insert a new row into /SMPL/PPPI_PISST.

•  Checked By Signature (lv_sigtype = ‘C’)

•  a. Get Signature Start Point – select the UNIQUE_SEQID of the “Checked By” step matching the given input.

b. Determine Signature End Point

•  Fetch all prior ‘C’ type signatures for the same control recipe and determine the highest UNIQUE_SEQID lower than the start point to use as the end.

c. Update Checked By Step – set the SIGN_ID and mark the step as COMPLETED = ‘X’.

d. Complete All Steps Between Start and End

•  Loop over all steps with UNIQUE_SEQID between the start and end boundaries and mark each row as COMPLETED = ‘X’; update the database using MODIFY.

•  Validation Flag Update (lv_sigtype = ‘O’)

•  a. Determine Validation Value – if IM_VALIDATION_REQ = ‘2’, set to ‘No’, else ‘Yes’.

b. Update the VALIDATION_REQUIRED field for the current control recipe, phase, and step index in /SMPL/PPPI_PISST.

Additional Notes:

•  Purpose: dynamically inserts or updates signature records in /SMPL/PPPI_PISST depending on the role of the signer (Done By, Checked By, or Validator).

•  Supports step name overrides and UUID tracking, and allows insertion before or after specific records using IM_DB_UP_DOWN.

•  Ensures Checked By signatures cascade completion to preceding steps and accommodates flexible validation logic.

•  Error Handling: no explicit RAISE statements; relies on CHECK and SY-SUBRC evaluations to exit silently if lookup conditions fail.

Function: /SMPL/PPPI_FM_SIG_POPULATE_CB

1. Purpose

Builds (once per control recipe) the EBR signature structure stored in /SMPL/PPPI_PISST that drives the Signature Table, then maintains the “Checked By” header/type for the current step. The structure lists every signature step for the order in sequence with a unique index used for ordering and dependency checks.

2. Input Parameters

•  IM_LABEL_ID – Signature label (‘C’ = Checked By).

•  IM_STEP_NAME – Optional XStep header text to display.

•  IM_STEP_INDEX / IM_STEP_UUID – Step sequence index and SOG UUID.

•  IM_CONTROL_RECIPE – Control recipe (PI sheet) number.

•  IM_PHASE, IM_PO_NR, IM_PLANT – Phase, process order and plant context.

3. Structure Build (first execution only)

a. SELECT COUNT(*) from /SMPL/PPPI_PISST for the control recipe + order. If rows already exist the build is skipped.

b. When empty:

•  Read master recipe (PLNNR/PLNAL from AFKO) and control recipe destination (PHSEQ from COCH).

•  Determine whether the order is Production or Process order (AFKO-PLNAW) to pick the SOG data type.

•  Retrieve the most recent SiMPL SOG data via /SMPL/MBR_CL_DB_SERVICE=>GET_MOST_RECENT_SMPL_DATA and filter to the current control recipe destination.

•  Lock /SMPL/PPPI_PISST (ENQUEUE_E_TABLE); on failure raise TABLE_LOCK_NOT_POSSIBLE.

•  Insert one /SMPL/PPPI_PISST row per step (step index, name, UUID, master recipe, control recipe, order, date, phase, VALIDATION_REQUIRED = ‘Yes’); then unlock the table.

•  Re-read the structure, sort by phase + step sequence, and assign a UNIQUE_SEQID in increments of 1000.

4. Checked By Maintenance

a. If IM_LABEL_ID = ‘C’, update the step’s TYPE to the “Checked By” text; if IM_STEP_NAME is supplied also update the displayed step name, keyed by step index + control recipe + phase.

5. Output

No export parameters; the persisted /SMPL/PPPI_PISST structure is the result.

Additional Notes

Error Handling:

•  TABLE_LOCK_NOT_POSSIBLE – the structure table could not be locked for the initial build.

Dependencies:

•  Tables /SMPL/PPPI_PISST, AFKO, COCH; class /SMPL/MBR_CL_DB_SERVICE; lock objects ENQUEUE/DEQUEUE_E_TABLE.

Assumptions:

•  SOG/dependency data has been loaded for the order; the first step to execute builds the structure for all subsequent steps.

Function: /SMPL/PPPI_FM_SIG_VALIDATION

1. Purpose

Validates a Done By / Checked By electronic signature before it is committed. It enforces user validity, predecessor-step completion, signature-table registration, the rule that a Checked By user cannot have performed the Done By in the same range, and a final-step “mass dependency” completion check. It also delegates to the MBR dependency validation FM.

2. Input Parameters

•  IM_LABEL_ID – Signature label (‘C’ Checked By, otherwise Done By/Perform).

•  IM_STEP_INDEX / IM_STEP_UUID – Step identifiers.

•  IM_CONTROL_RECIPE, IM_PHASE, IM_PO_NR – Control recipe, phase and process order.

•  IM_USERID – User performing the signature.

•  IM_CB_VALIDATE – Flag to run the Checked-By-vs-Done-By conflict check.

•  IM_PLANT – Plant.

3. Basic Validation

a. If IM_CONTROL_RECIPE is initial → raise CONTROL_RECIPE_INITIAL.

b. If IM_USERID is initial → raise USER_INITIAL.

4. Predecessor / Configuration Checks

a. Read master recipe (AFKO) and control recipe destination (COCH). If either is missing → raise XSTEP_CONFIG.

b. Determine Production vs Process order and retrieve dependency data via /SMPL/MBR_CL_DB_SERVICE=>GET_MOST_RECENT_SMPL_DATA.

c. Filter dependencies to the current destination and step UUID and check predecessor completion in /SMPL/PPPI_PISST (predecessor enforcement is delegated to MBR).

5. Signature Table Validation

a. The user must be registered for the PI sheet in /SMPL/PPPI_PIBSI; otherwise → raise USER_NOT_SIGNED_INTO_SIG_TAB.

6. Checked By vs Done By Conflict

a. When IM_LABEL_ID = ‘C’ and IM_CB_VALIDATE is set, the unique sequence range of the current Checked By is determined and the structure is searched for a Done By (‘Perform’) signature by the same user within that range; if found → raise USER_SIGNED_PERF_BY.

7. Final Step Mass Dependency Check

a. The last step (max UNIQUE_SEQID) of the control recipe is read. If the current signature is that final step, all other required (validation required = ‘Yes’, Checked By) steps must be completed; otherwise → raise REQ_EBR_STEPS_NOT_COMPLETED.

8. MBR Dependency Validation

a. /SMPL/MBR_DEP_VALI_SIGN is called with a Perform/Verify signature type derived from IM_LABEL_ID; its exceptions are mapped back to this FM’s exceptions.

Additional Notes

Error Handling:

•  Raises CONTROL_RECIPE_INITIAL, USER_INITIAL, USER_NOT_SIGNED_INTO_SIG_TAB, USER_SIGNED_PERF_BY, REQ_EBR_STEPS_NOT_COMPLETED and XSTEP_CONFIG as described above.

Dependencies:

•  Tables /SMPL/PPPI_PISST, /SMPL/PPPI_PIBSI, AFKO, COCH; FM /SMPL/MBR_DEP_VALI_SIGN; class /SMPL/MBR_CL_DB_SERVICE.

Assumptions:

•  The signature structure has been built (see /SMPL/PPPI_FM_SIG_POPULATE_CB) and the user is registered on the PI sheet.

Function: /SMPL/PPPI_FM_VALI_SUPE_SIG

1. Purpose

Wrapper validation used when a recorded value must fall within a configured range and a supervisor signature is conditionally required. It first checks the value against minimum/target/maximum limits to decide whether a signature is required, then runs the standard signature validation.

2. Input Parameters

•  IM_LABEL_ID, IM_STEP_INDEX, IM_STEP_UUID, IM_CONTROL_RECIPE, IM_PHASE, IM_PO_NR, IM_USERID, IM_CB_VALIDATE, IM_PLANT – Standard signature-validation context (see /SMPL/PPPI_FM_SIG_VALIDATION).

•  IV_MN / IV_MT / IV_MX – Minimum, target and maximum numeric limits.

•  IV_MN_DAY/IV_MN_TIM, IV_MT_DY/IV_MT_TM, IV_MX_DAY/IV_MX_TIM – Optional day-offset and time limits for date/time ranges.

•  IV_INSIDE_RANGE – Indicator (default ‘1’) controlling whether being inside or outside the range requires the signature.

3. Range Check

a. /SMPL/PPPI_FM_VALI_SUPE_CHECK is called with the limit parameters; it returns EV_SIG_REQ (signature required) and may raise range exceptions (VALUE_NOT_SET, RANGE_BELOW_MIN, RANGE_ABOVE_MAX, RANGE_INSIDE_RANGE, DOESNT_WORK_FOR_TIME), which are re-raised to the caller.

4. Signature Validation

a. /SMPL/PPPI_FM_SIG_VALIDATION is called with the signature context; its exceptions (control recipe initial, user initial, user not signed, user signed Done By / Perform By, predecessor / required steps not completed) are mapped and re-raised.

5. Output

•  EV_SIG_REQ – ‘X’ when a supervisor signature is required for the recorded value, otherwise blank.

Additional Notes

•  Combines range evaluation and signature validation so a supervisor signature is only enforced when the value falls in the configured condition.

Error Handling:

•  Re-raises the range and signature exceptions listed above; UNEXPECTED_ERROR for any other failure.

Dependencies:

•  FMs /SMPL/PPPI_FM_VALI_SUPE_CHECK and /SMPL/PPPI_FM_SIG_VALIDATION.

Function: /SMPL/PPPI_FM_INITIAL_ACTIVE

1. Initialization

a. Input parameter IV_ACTIVE is optionally provided by the calling logic.

b. Constants gc_yes, gc_no, and gc_inside_range are assumed to be defined globally in the context of the function module.

2. Active Flag Evaluation

a. The function checks if the input value IV_ACTIVE falls within the expected valid range, represented by gc_inside_range.

b. Based on the result:

•  If the input value is not equal to gc_inside_range, the XStep is marked as inactive by setting EV_ACTIVE = gc_no.

•  If the input value is equal to gc_inside_range, the XStep is marked as active by setting EV_ACTIVE = gc_yes.

3. Output Assignment

a. The evaluated result is returned in the EV_ACTIVE export parameter for use by the calling logic (e.g., XStep configuration, PI sheet rendering).

Additional Notes

•  This is a simple normalization function that abstracts how activation flags are interpreted for PPPI XSteps.

•  The use of constants (gc_yes, gc_no, gc_inside_range) aligns the logic with broader application settings or standards.

•  Input is optional, so defaulting behavior can be configured outside this function.

Function: /SMPL/MBR_DEP_ADD_PERFORM

1. Initialization

a. Input parameters provide context for recording a Perform signature against a specific Manufacturing Batch Record (MBR) step:

•  IM_CONTROL_RECIPE (POC_DOCID) – Control recipe ID identifying the batch instruction.

•  IM_AUFNR (AUFNR) (Optional) – Process order number associated with the control recipe.

•  IM_USERID (XUBNAME) – SAP user ID of the performer signing the MBR step.

•  IM_STEP_UUID (/SMPL/MBR_SOG_UUID) – Unique step identifier (SOG UUID) representing the MBR step being signed.

•  IM_DEST_NAME (/SMPL/MBR_CMX_XS_DST_NAME) – Destination or XStep node name indicating the origin of the signature action.

b. The function validates that IM_USERID is not initial; if missing, the exception USER_INITIAL is raised.

c. It then checks whether the performer is authorized to sign within the MBR context; if not registered in the signature authorization table, USER_NOT_SIGNED_INTO_SIG_TAB is raised.

2. Signature Entry Construction

a. A new record representing the Perform signature is constructed with the process order (AUFNR), step UUID (SOG_UUID), signature type (TYPE = gc_perform_signature), performer (SIGN_ID), system date/time for the creation and signature timestamps, and destination name (DEST_NAME).

3. Database Insertion

a. The signature record is inserted into /SMPL/MBR_OR_SIG, creating a permanent audit trail linking the performer to the execution of the MBR step. A database error triggers a system exception to ensure data consistency.

4. Output Assignment

a. The function does not return explicit output parameters; its outcome is the successful insertion of a Perform signature record, which downstream logic (e.g. /SMPL/MBR_DEP_CHECK_ACTIVE) consumes.

Additional Notes

•  Captures performer identification, system date, and time automatically at the moment of signing, creating a permanent and auditable MBR signature record.

•  Error Handling: USER_INITIAL (performer ID missing); USER_NOT_SIGNED_INTO_SIG_TAB (performer not authorized); database insert failure raised by the system.

•  Dependencies: table /SMPL/MBR_OR_SIG; constant gc_perform_signature; system fields SY-DATUM/SY-UZEIT.

Function: /SMPL/MBR_DEP_CHECK_ACTIVE

1. Initialization

a. Input parameters provide context for determining whether an MBR step can be activated:

•  IM_CONTROL_RECIPE (POC_DOCID) – Control recipe ID identifying the batch instruction.

•  IM_PHASE (VORNR) (Optional) – Operation or phase within the process order.

•  IM_AUFNR (AUFNR) (Optional) – Process order number associated with the step.

•  IM_STEP_UUID (/SMPL/MBR_SOG_UUID) – Unique step identifier (SOG).

•  IM_PLANT (WERKS_D) – Plant code for process context.

b. The function validates that IM_CONTROL_RECIPE is not initial; if it is, CONTROL_RECIPE_INITIAL is raised. Internal data is initialized and routine LOAD_INTERNAL_DATA populates the order dependency buffers.

2. Signature Data Retrieval

a. Signature records for the process order are retrieved from /SMPL/MBR_OR_SIG (AUFNR = IM_AUFNR) into internal table lt_ord_sigs for evaluation.

3. Dependency Evaluation

a. The function loops through dependencies where TARGET_UUID = IM_STEP_UUID and DEP_RULE is a Perform-Before-Start or Verify-Before-Start rule:

•  For PERFORM BEFORE START, it checks whether the prerequisite step has a pending perform signature.

•  For VERIFY BEFORE START, it checks whether the prerequisite step has a pending verify signature.

b. If an incomplete signature is found, the step is marked inactive (EV_ACTIVE = gc_step_inactive); if all prerequisites are complete, it is marked active (EV_ACTIVE = gc_step_active).

4. Output Assignment

a. The evaluated activation status is returned in EV_ACTIVE (active = all prerequisites complete; inactive = at least one prerequisite incomplete).

Additional Notes

•  Evaluates Perform Before Start and Verify Before Start dependency rules using live signature data from /SMPL/MBR_OR_SIG.

•  Error Handling: raises CONTROL_RECIPE_INITIAL if the control recipe is missing; handles empty dependency/signature data without runtime errors.

•  Activation status is recalculated each time the function is called to reflect live signature data.

# Configuration Specifications

The XStep “SMPL: Bioreactor pH Calculation” will be configured to allow the user to capture bioreactor temperature and pH information for Probe A and Probe B. The process step will contain two tables:

- Bioreactor Temperature and pH

- pH Difference

The XStep allows the user to capture and automatically calculate pH Difference values. Data captured in the process step will be saved to the SAP backend table QASE following successful completion and sign-off of the process step.

The process step will contain two output fields that identify the material or substance associated with each probe.

| Field Name | Field Type | Mandatory | Editable | Description |
| --- | --- | --- | --- | --- |
| Probe A | Output Field | Yes | No | The material/substance name for Probe A is populated automatically. The data is pulled from the EBR record. The data is captured previously during the completion of the PO. |
| Probe B | Output Field | Yes | No | The material/substance name for Probe B is populated automatically. The data is pulled from the EBR record. The data is captured previously during the completion of the PO. |

The table “Bioreactor Temperature and pH” will allow the user to capture pH monitoring data.

| Field Name | Field Type | Mandatory | Editable | Description |
| --- | --- | --- | --- | --- |
| Bioreactor Temp | Numeric Input | Yes | Yes | Temperature of bioreactor |
| UOM | Output Field | Yes | No | Pulled from SAP Table MARA-MEINS |
| pH Probe A | Numeric Input | Yes | Yes | pH Reading for probe A |
| pH Probe B | Numeric Input | Yes | Yes | pH Reading for probe B |
| Offline pH Meas | Dropdown Selection | Yes | Yes | Select offline measurement method |
| BGA/pH Meter ID | Character Input | Yes | Yes | Identifier of measuring device |
| Sample Temp | Numeric Input | Yes | Yes | Sample temperature |
| UOM | Output Field | Yes | No | Pulled from SAP Table MARA-MEINS |
| Sample pH (T) | Numeric Input | Yes | Yes | Offline sample pH |
| Performed By | Signature field | Yes | No | Operator electronic signature |

The process step contains a second table “pH Difference” that automatically retrieves and filters data captured in the first table. The table contains a Functional push button. When the functional button is selected an XStep function call is triggered and the output field is populated with the current system time. The output field for the timestamp becomes read only and cannot be changed.

| Item | Requirement |
| --- | --- |
| Source | SAP Application Server Time |
| Format | HH:MM:SS |
| Population Method | XStep Function Module |
| Audit Requirement | Timestamp recorded in audit trail |

Table Fields:

| Field Name | Field Type | Mandatory | Editable | Description |
| --- | --- | --- | --- | --- |
| Probe | Dropdown Selection | Yes | Yes | Select Probe A or Probe B: 0 – Select 1 – Probe A 2 – Probe B |
| Bioreactor pH | Output Field | Yes | No | pH Data pulled from first table depending on probe selected |
| Offline pH | Output Field | Yes | No | Pulled from first table Sample pH (T) |
| pH Difference | Output Field | Yes | No | Calculated pH Difference |
| One-Point Standardization | Output Field | Yes | No | The field is automatically populated based on the calculated pH Difference. |
| Time Performed | Output Field | Yes | No | Timestamp generated by functional button |
| Performed By | Signature field | Yes | No | Operator electronic signature |

The process step will execute the following calculation automatically within the “pH Difference” table:

- pH Diff = pH Probe (A/B) – Sample pH (T)

If the “pH Difference” is =< -0.05 or >= + 0.05 then the One-Point Standardization field is automatically set to “Yes”. If the conditions are not met then the One-Point Standardization is set to “No”.

The step requires two users to sign off on the data captured in the XStep. A signature strategy will be implemented so that operators or/and verifiers must sign off before the process step is locked and the data is automatically saved in the SAP system.

The Performed By signature checks that:

- Mandatory fields are completed

- Numeric Range checks passed

- No invalid entries

- No open deviations/ errors remain

- Calculation results are valid

The Witnessed By signature checks that:

- Required number of signatures are met

- A second user signs the Witnessed By signature activating the Signature strategy SS000202 - SiMPL Checked By

- Data is verified

Appropriate authorization are setup for users to execute the XStep/PI sheet.

# Test Scenarios

| # ID | Scenario | Type | Expected Result | Actual Result | Pass/ Fail |
| --- | --- | --- | --- | --- | --- |
| 1 | Verify the XStep displays the Probe A data | Functional | Data in Probe A field displayed |  |  |
| 2 | Verify the XStep displays the Probe B data | Functional | Data in Probe B field displayed |  |  |
| 3 | Verify “Bioreactor Temperature and pH” table is displayed | Functional | Table displayed successfully |  |  |
| 4 | Verify “pH Difference” table is displayed | Functional | Table displayed successfully |  |  |
| 5 | Verify Bioreactor Temp field accepts numeric values | Validation | Numeric value accepted |  |  |
| 6 | Verify Bioreactor Temp field rejects alphabetic values | Negative | Validation error displayed |  |  |
| 7 | Verify pH Probe A field accepts numeric values | Validation | Numeric value accepted |  |  |
| 8 | Verify pH Probe A field rejects invalid characters | Negative | Validation error displayed |  |  |
| 9 | Verify pH Probe B field accepts numeric values | Validation | Numeric value accepted |  |  |
| 10 | Verify pH Probe B field rejects invalid characters | Negative | Validation error displayed |  |  |
| 11 | Verify Offline pH Meas dropdown contains “Select”, “BGA”, and “pH Meter” | Functional | Dropdown values displayed correctly |  |  |
| 12 | Verify BGA/pH Meter ID field accepts character input | Functional | Text value accepted |  |  |
| 13 | Verify Sample Temp field accepts numeric values | Validation | Numeric value accepted |  |  |
| 14 | Verify Sample Temp field rejects alphabetic values | Negative | Validation error displayed |  |  |
| 15 | Verify Sample pH (T) field accepts numeric values | Validation | Numeric value accepted |  |  |
| 16 | Verify Sample pH (T) field rejects invalid values | Negative | Validation error displayed |  |  |
| 17 | Verify UOM field automatically populates from MARA-MEINS | Integration | Correct UOM displayed |  |  |
| 18 | Verify UOM field is read-only | Functional | User unable to edit UOM |  |  |
| 19 | Verify data entered in first table is saved to SAP backend table QASE | Integration | Data saved successfully |  |  |
| 20 | Verify Probe dropdown contains “Select”, “Probe A”, and “Probe B” | Functional | Dropdown values displayed correctly |  |  |
| 21 | Verify selecting Probe A pulls Probe A data into second table | Functional | Probe A values populated correctly |  |  |
| 22 | Verify selecting Probe B pulls Probe B data into second table | Functional | Probe B values populated correctly |  |  |
| 23 | Verify incorrect probe mapping does not occur | Validation | Only selected probe data displayed |  |  |
| 24 | Verify Bioreactor pH output field is automatically populated | Functional | Correct pH value displayed |  |  |
| 25 | Verify Offline pH output field is automatically populated | Functional | Correct Sample pH (T) value displayed |  |  |
| 26 | Verify pH Difference calculation executes correctly | Calculation | System calculates: pH Probe (A/B) – Sample pH (T) |  |  |
| 27 | Verify pH Difference field is read-only | Functional | User unable to modify value |  |  |
| 28 | Verify calculation refreshes when source values are updated | Calculation | Updated pH Difference displayed |  |  |
| 29 | Verify null calculation fields prevent calculation execution | Negative | Calculation error displayed |  |  |
| 30 | Verify One-point Standardization dropdown contains “Select”, “Yes”, and “No” | Functional | Dropdown values displayed correctly |  |  |
| 31 | Verify user can select “Yes” from One-point Standardization dropdown | Functional | Selection saved successfully |  |  |
| 32 | Verify user can select “No” from One-point Standardization dropdown | Functional | Selection saved successfully |  |  |
| 33 | Verify “Record Current Time” functional button populates Time Performed field | Functional | Current SAP system time displayed |  |  |
| 34 | Verify Time Performed format is HH:MM:SS | Validation | Correct timestamp format displayed |  |  |
| 35 | Verify Time Performed field becomes read-only after timestamp generation | Functional | User unable to edit timestamp |  |  |
| 36 | Verify timestamp is sourced from SAP application server time | Technical | Timestamp matches server time |  |  |
| 37 | Verify audit trail captures timestamp generation | Audit Trail | Audit record created |  |  |
| 38 | Verify Performed By signature field accepts valid user signature | Security | Signature accepted successfully |  |  |
| 39 | Verify invalid password prevents signature completion | Negative/ Security | Signature rejected and error displayed |  |  |
| 40 | Verify locked SAP user cannot sign process step | Negative/ Security | Authorization error displayed |  |  |
| 41 | Verify mandatory field validation executes before Performed By signature | Validation | Signature blocked until fields completed |  |  |
| 42 | Verify numeric range validation executes before sign-off | Validation | Invalid ranges prevent sign-off |  |  |
| 43 | Verify calculation validation executes before sign-off | Validation | Invalid calculations prevent sign-off |  |  |
| 44 | Verify Witnessed By requires second user signature | Security | Second signature required |  |  |
| 45 | Verify same user cannot sign both Performed By and Witnessed By | Security | Duplicate signer prevented |  |  |
| 46 | Verify Witnessed By signature requires completed Performed By signature | Validation | Witness signature blocked until first signature complete |  |  |
| 47 | Verify unauthorized users cannot execute XStep | Security | Authorization error displayed |  |  |
| 48 | Verify process step cannot complete with open deviations/errors | Validation | Completion prevented |  |  |
| 49 | Verify process step locks after successful sign-off | Functional | Step becomes read-only |  |  |
| 50 | Verify audit trail captures electronic signatures | Audit Trail | Signature events recorded |  |  |
| 51 | Verify audit trail captures field modifications | Audit Trail | Changes recorded successfully |  |  |
| 52 | Verify second table refreshes automatically when first table data changes | Functional | Updated values synchronized |  |  |
| 53 | Verify multiple line items can be captured in first table | Functional | Multiple entries saved successfully |  |  |
| 54 | Verify each line item requires signature completion | Validation | Each line requires valid sign-off |  |  |
| 55 | Verify process step prevents save if mandatory dropdown fields remain on “Select” | Negative | Validation error displayed |  |  |
| 56 | Verify process step prevents save when required signatures are missing | Validation | Completion prevented |  |  |
| 57 | Verify backend save to QASE occurs only after successful sign-off | Integration | Data saved after signature completion |  |  |
| 58 | Verify user cannot edit signed-off records | Security | Signed records locked from editing |  |  |

# Document References

| Reference No. | Document Title |
| --- | --- |
| Number used in superscript for reference | Full name of referenced document |
| 1 | SiMPL Functional Guide: Universal Concepts |

# Revision History

| Version No. | Description | Author | Date |
| --- | --- | --- | --- |
| 1.0 | Initial document | Chane Rautenbach | 18MAY2026 |